## Sheet1
AfriWatSan
Makerere Workshop field data collected during training
Date of Collection: 12 July 2016
Date of Analysis: 12 July 2016
Location: Kampala
Sample ID | Water Source | Location | pH | EC (uS/cm) | T (ºC) | SWL (mbgl) | Remarks
1 | protected spring | Katogo, Bwaise III | 4.89 | 705 | 24.8 |  | Abdul Mukulu spring
2A | piezometer (28 mbgl) | Katogo, Bwaise III | 5.87 | 169.4 | 24.6 | 1.355 | pedestal height: 0.46m
2B | piezometer (6 mbgl) | Katogo, Bwaise III |  |  | 24.7 | 1.19
3A | piezometer (11 mbgl) | Makerere | 5.66 | 77.9 | 24.2 |  | pumping rate (5L/2.9min, 3L/2.6min)
3B | piezometer (22 mbgl) | Makerere | 5.56 | 88.4 | 25.3 |  | pumping rate: not ascertained
4 | unprotected spring | Makerere | 4.78 | 308 | 24 |  | unprotected spring, unable to measure discharge
Microbiological Quality Using Chromocult Agar
Sample ID | E. Coli | Salmonella | Total Coliforms | Enterobacter
ID | (cfu/100ml) | (cfu/100ml) | (cfu/100ml) | (cfu/100ml)
1 | 14333 | 34000 | 24000 | 23333
2A | 0 | 266666 | 0 | 133333
3A | 0 | 667 | 0 | 9333
3B | 0 | 5667 | 3667 | 23333
4 | 333 | 0 | 14667 | 5000
Makerere Workshop field data collected during training
Date of collection: 14-15 July 2016
Date of Analysis: 14 &15 July 2016
Location: Lukaya
Sample ID | Water source | Location | pH | EC (uS/cm) @ 25ºC | T (ºC) | Total Alkalinity (mg/L as CaCO3)
1 | Borehole | Mustard seed | 5.28 | 122 | not recorded | 31.8
2 |  |  | 4.83 | 47.1 | not recorded | 7.4
3 | unprotected spring | Kawanda agip | 4.81 | 46 | not recorded | 0.9
4 | Borehole |  | 5.54 | 5.7 | not recorded | 25.9
5 | unprotected spring | Agip | 4.8 | 164 | not recorded | 1
6 | Borehole near the road | Mariam mosque | 5.65 | 872 | not recorded | 45.7
7 | unprotected spring | Matete | 5.15 | 296 | not recorded | 5.2
8 | unprotected spring | Sande | 5.23 | 262 | not recorded | 10.5